Cenbg mini-course #2

Quick overview of CAL calib

Outline:

- The CAL front-end: what’s in the GCFE asic’s on the AFEE boards.

- Ground calibrations with muons and charge injection

- RDB – where the calibration constants live, and how jobOptions picks them up so that GLEAM can reconstruct data.

- How we’ll calibrate high energies in orbit

  - Heavy ions

  - But first, just protons

- So, what was the point of CERN?

- The CAL front-end: what’s in the GCFE asic’s on the AFEE boards.

https://oraweb.slac.stanford.edu/pls/slacquery/DOCUMENTS.DetailedIndex?PROJECT=GLAST&P_DOC_ID=113834

Lat Docs, document SS-1972, see figure 1 page 10.

- Ground calibrations with muons and charge injection

# Between muons and other Z=1 MIPs (minimum ionizing particle, see pages 2 and 12 of http://pdg.lbl.gov/2006/reviews/passagerpp.pdf) that deposit 12 MeV of energy by ionization. Dave did this for a year at SLAC, see

http://www-glast.slac.stanford.edu/IntegrationTest/SVAC/Instrument_Analysis/Workshop-3/Talks/David_IT_meet_10March2005.pdf

and/or

http://www-glast.slac.stanford.edu/IntegrationTest/SVAC/Instrument_Analysis/Workshop-4/Talks/ITmeet14July2005.pdf

- RDB – where the calibration constants live, and how jobOptions picks them up so that GLEAM can reconstruct data.

See the first of the above talks, and also http://www.slac.stanford.edu/exp/glast/ground/software/notes/rdbGui/rdbGui-use.shtml

And more generally, the “calibrations” part of the IA page, http://www-glast.slac.stanford.edu/IntegrationTest/SVAC/Instrument_Analysis/Instrument_Analysis.html

- How we’ll calibrate high energies in orbit

See Bregeon thesis, figure 6.13, and slides 24, 25 of Dave’s GlastComEval2006.ppt, or ask Thierry, he probably has better stuff.

- The point of CERN? Not to calibrate the flight hardware, but rather to validate & tune the Monte Carlo simulation, which is in fact the central link in the calibration chain.