## Slide 1: 32Ar data analysis 2018
WISArD Collaboration Meeting (March 21st, 2021)
Victoria Araujo-Escalona
PhD student KU Leuven (currently based at CENBG)
NUCLEAR AND RADIATION PHYSICS
Experimental technique
WISArD setup
Data analysis & results
Conclusion & perspectives

## Slide 2
How do we measure?
Kinematic proton energy shift
Measuring proton energy from 32Cl with high resolution and positron emitted in the b decay
Extract abn from beta decay of the 32Ar  32Cl
Experimental objective
Proton energy distribution
Red: parallel direction Green: antiparallel
abn = -1
abn = 1

## Slide 3
Secondary particles emitted after the decay
Adelberger, 1999 [F] b-n-p correlation measurement (32Ar)
Sternberg, 2015 [GT] b--a correlation measurement (8Li)
Sternberg, 2015 [GT] b-𝜈 ̅-a correlation measurement (8Li)
Egorov, 1997; Vorobel, 2003. b-n-g correlation measurement (18Ne) b-n-g correlation measurement (14O)
Kinematic energy shift
Measure the centroid of the proton energy distribution instead the broadening of the proton spectra, WISArD.
Clifford, 1989. b-n-a correlation measurement (20Na)
Secondary particles emitted after the decay
Kinematic energy shift
Measure the centroid of the proton energy distribution instead the broadening of the proton spectra, WISArD.
Detecting the protons that contains the information about the 32Cl recoil
Detect beta particle
32Cl
32Ar
o+
o+
31S
p
b+
1+
1+
1/2+
0
5046
3772
0
SCALAR
Fermi transition
Preferred emission angle: θ = 180°
Minimum recoil energy
TENSOR
GT Transition
Preferred emission angle: θ = 0°
Maximum recoil energy
Weak Interaction Studies with 32Argon Decay: The 0.1% challenge!
Experimental technique
Kinematic proton energy shift

## Slide 4
LINAC2
PSB
PS
ISOLDE
ISOLDE @ CERN
Isotope On-Line Device at CERN’s Accelerators Complex

## Slide 5
Experimental Setup
Target area
LOW ENERGY RIB
GPS
General Purpose Separator
HRS
High Resolution Separator
HIGH ENERGY
1.4 GeV protons  CaO target
Effective beam time of 35 hrs
1700 pps production yield (ISOLDE capability 3640 pps)
approx. 105 proton-positron coincidences (Fermi)
Implantation rate of 90 pps
Ion transmission in the beamline was 12% (inadequate existing beam optics 32Ar+ beam 30 keV)

## Slide 6
Superconducting Magnet
Upper plate
Lower plate
Mylar foil
Lower Plate
Upper Plate
p
32Ar
2
3
1
b+
Inside the WISArD
Mylar foil
(7-mm-thick = 15mm)
1
Plastic scintillator +SiPM
(50mm / =20mm)
2
Silicon detectors
(300-mm-thick / = 30mm)
3

## Slide 7
Data Analysis
Experimental data
Energy calibration
  SiDW  Dead layer thickness
  SiUP  Mylar thickness
Coincidence measurement. short time window between p and b
Kinematic energy shift, DEp
Monte Carlo simulations
Event generator (CRADLE++)
GEANT4 simulations
  vs DEp
Systematic uncertainties

## Slide 8
Data Analysis
Experimental data
Energy calibration
  SiDW  Dead layer thickness
  SiUP  Mylar thickness
Coincidence measurement. short time window between p and b
Kinematic energy shift, DEp
Monte Carlo simulations
Event generator (CRADLE++)
GEANT4 simulations
  vs DEp
Systematic uncertainties

## Slide 9
Data Analysis
Experimental data
Energy calibration
  SiDW  Dead layer thickness
  SiUP  Mylar thickness
Fitting procedure
Blank et al (proton energy literature, Elit)
SiDW: determine calibration parameters & dead layer thickness
Gaussian function plus a linear background fit
Chi2 minimization function
Dead Layer thickness 1290(120) nm
Silicon detectors
(300-mm-thick / = 30mm)

## Slide 10
Data Analysis
Energy calibration
  SIDW  Dead layer thickness
  SiUP  Mylar thickness
Experimental data
Fitting procedure
Blank et al (proton energy literature, Elit)
SiUP: determine calibration parameters & mylar thickness
Gaussian function plus a linear background fit
Chi2 minimization function
Mylar thickness 6937(700) nm

## Slide 11
Data Analysis
Energy calibration
  SIDW  Dead layer thickness
  SiUP  Mylar thickness
Experimental data

## Slide 12
Data Analysis
Energy calibration
  SIDW  Dead layer thickness
  SiUP  Mylar thickness
Coincidence measurement short time window between p and b
Kinematic energy shift, DEp
Monte Carlo simulations
Event generator (CRADLE++)
GEANT4 simulations
  vs DEp
Systematic uncertainties
Experimental data
beta threshold =25(12)keV
Tdiff = narrow range (individually)
Fermi

## Slide 13
Kinematic proton energy shift b-p coincidence measurements
Clear energy shifts observed in the dominant vector contribution
4 keV ()
4 keV ()
Si2UP
p
b+
Si1UP
Si2DW
Si1DW
B = 4T
parallel
Si2DW
p
b+
Si2UP
Si1UP
Si1DW
B = 4T
antiparallel

## Slide 14
Extended study of the proton energy shift for proton groups followed by a pure GT transition. (a) 2421 keV, (b) 3988 keV, (c) 5555 keV and (d) 5832 keV
Data Analysis
weighted average energy shift

## Slide 15
G4: no distinction between active volume and dead layer in silicon detectors
Monte Carlo simulations
CRADLE ++ and GEANT4

## Slide 16
Angular correlation coefficient Energy shift from G4 with a given a-parameter
Ep [keV] | Experimental kinematic energy shift [keV] | 
2121 | 2.96 ± 0.07 | -0.338 ± 0.066
2421 | 3.26 ± 0.09 | -0.120 ± 0.086
3356 | 4.51 ± 0.04 | 1.000 ± 0.037
3988 | 3.52 ± 0.99 | 0.204 ± 0.966
5555 | 2.94 ± 1.05 | 0.327 ± 1.401
5832 | 3.75 ± 1.91 | 1.704 ± 2.713
Ep [keV] | Experimental kinematic energy shift [keV] | 
2121 | 2.96 ± 0.07 | -0.338 ± 0.066
2421 | 3.26 ± 0.09 | -0.120 ± 0.086
3356 | 4.51 ± 0.04 | 1.000 ± 0.037
3988 | 3.52 ± 0.99 | 0.204 ± 0.966
5555 | 2.94 ± 1.05 | 0.327 ± 1.401
5832 | 3.75 ± 1.91 | 1.704 ± 2.713

## Slide 17
Systematic uncertainties
Monte Carlo simulations
Non-dominant sources of uncertainty:
Detector position
Magnetic Field
Source radius
Source position
Chart: 
| False coincidences | Detector calibration | Nondominant sources of uncertainty | Silicon dead layer | Mylar thickness | backscattering | beta threshold | Proton energy calibration
da/dValue | 0.001 | 0.009 | 0.00089123 | 0.011451 | 0.0048669 | 0.017391 | 0.0065308 | 0.01233
Systematic uncertainties
 | Source | uncertainty |  |  | 
background | False coincidence | 0.3% | 1E-03 | 2E-03 | 
proton | Linear slope uncertainty | 0.3% | 9E-03 | 6E-03 | 
 | Proton energy from literature | 1 keV | 1.23E-02 | 2.59E-03 | 
 | dead layer thickness | 120 nm | 1.15E-02 | 1.50E-02 | 
 | Mylar thickness | 700 nm | 4.87E-03 | 6.60E-03 | 
positron | b backscattering | 15% | 1.74E-02 | 2.78E-02 | 
 | b energy threshold | 12 keV | 6.53E-03 | 8.27E-04 | 
Nondominant | Detector position | 1 mm | 3.21E-04 | 1.86E-04 | 
 | Source position | 1 mm | 7.86E-04 | 2.78E-04 | 
 | Source radius | 1 mm | 1.67E-04 | 1.77E-04 | 
 | Magnetic field | 1% | 2.41E-05 | 4.64E-04 | 
 | Fierz interference term, bF | 0.1% | 2.12E-04 | 2.83E-05 | 
Total |  |  | 0.027 | 0.033 | 
 | Source | uncertainty |  |  | 
background | False coincidence | 0.3% | 1E-03 | 2E-03 | 
proton | Linear slope uncertainty | 0.3% | 9E-03 | 6E-03 | 
 | Proton energy from literature | 1 keV | 1.23E-02 | 2.59E-03 | 
 | dead layer thickness | 120 nm | 1.15E-02 | 1.50E-02 | 
 | Mylar thickness | 700 nm | 4.87E-03 | 6.60E-03 | 
positron | b backscattering | 15% | 1.74E-02 | 2.78E-02 | 
 | b energy threshold | 12 keV | 6.53E-03 | 8.27E-04 | 
Nondominant | Detector position | 1 mm | 3.21E-04 | 1.86E-04 | 
 | Source position | 1 mm | 7.86E-04 | 2.78E-04 | 
 | Source radius | 1 mm | 1.67E-04 | 1.77E-04 | 
 | Magnetic field | 1% | 2.41E-05 | 4.64E-04 | 
 | Fierz interference term, bF | 0.1% | 2.12E-04 | 2.83E-05 | 
Total |  |  | 0.027 | 0.033 | 

## Slide 18
Fermi transition
aF = 0.9989(52)
Adelberger et al. (32Ar)
aF = 0.9981(30)
Gorelov et al. (38Km)
aF = 1.000(37)stat(27)syst
Araujo et al. (32Ar)
Gamow-Teller transition
aGT = -0.33(3)
Carlson et al. (23Na)
aGT = -0.3343(30)
Johnson et al. (6He)
aGT = -0.3342(38)
Sternberg et al. (8Li)
aGT = -0.338(66)stat(34)syst
Araujo et al. (32Ar)
Angular correlation coefficient, The 3rd best measurement!
V. Araujo-Escalona et al., PRC 101, 05501(2020)

## Slide 19
Successful proof-of-principle experiment, expected kinematic energy shifts of proton peaks is observed, providing the third most precise measurement of in a pure Fermi transition.
Simultaneous measurements of for different transitions (Fermi and Gamow-Teller) in a single experiment can be performed with same isotope.
Setup that allows to get a better control of systematic errors.
Agreement with the SM with deviation and 1.5 for F and GT, respectively.
statistical uncertainty is reduced by a factor 2.5 using this technique instead broadening
Conclusions
32Ar production, transmission and longer beamtime
New setup geometry and improve proton energy resolution. Segmented silicon detectors with well known and thinner dead layer.
Reduce thickness of the mylar foil
Full characterization of the plastic scintillator. Lower the positron energy threshold below 10keV to reduce the uncertainty.
Outlook

## Slide 20
Looking ahead
Thick 300m
Diameter 30 mm
* DL thickness 1290(120) nm
Lower Plate
Upper Plate
p
32Ar
2
b+
1
3
1
Mylar
foil
2
Plastic Scintillator
(BC-408)
3
Silicon detector
p
3
1
p
32Ar
Mylar foil
(7-mm-thick)
detection solid angle 8%30%
energy resolution 30kev 5-10 keV thinner dead layer <80nm
32Ar beam:
production yield > 1700pps
beam transmission 12%70%
500nm-thick reduce by a factor of 13 b backscattering
nondominant reduced by a factor 5
Detector position
Magnetic Field
Source radius
Source position

## Slide 21
Conclusion and outlook Exclusion plot
Current situation
Perspective

## Slide 22: Thank you! victoria.araujoescalona@kuleuven.be
V. Araujo-Escalona, N. Severijns, S. Vanlangendonck. KU Leuven, Belgium
P. Alfaurt, P. Ascher, B. Blank, L. Daudin, M. Gerbaux, J. Giovinazzo, S. Grévy, T. Kurtukian Nieto, M. Roche, M. Versteegen
CENB Gradignan, France
X. Fléchard, E. Liénard, G. Quéméner.
LPC Caen, France
D. Zakoucky.
Rez, Czech Republic
D. Atanasov.
CERN, Switzerland